### Beta radiation: range and stopping

#### Demonstration

This demonstration focuses on the properties of beta particles.

#### Apparatus and materials

- Geiger–Müller (G–M) tube

- Holder for G–M tube

- Scaler (if needed by G–M tube)

- Sealed pure beta source, strontium-90 (90Sr), 5 μCi

- Set of absorbers (e.g. paper, aluminium and lead of varying thickness)

#### Technical notes

Note that 5 μCi is equivalent to 185 kBq. 
 
G–M tubes are very delicate, especially if they are designed to measure alpha particles. The thin, mica window needs a protective cover so that it is not accidentally damaged by being touched. 
 
Some education suppliers now stock all-in-one G–M tubes with a counter (e.g. Science Enhancement Programme). 

An all-in-one G–M tube and counter. 
 
Education suppliers stock a set of absorbers that range from tissue paper to thick lead. This is a useful piece of equipment to have in your prep room. You can make up your own set. This should include tissue paper, plain paper, some thin metal foil (e.g. cigarette paper or the wrapping from a chocolate from an assortment box) and a small piece of gold leaf. 
 
To cut off the direct path in step d, the lead block from the absorbers kit is just adequate but a block with a bigger area is better.

#### Safety

See guidance note on Managing radioactive materials in schools.
 
This experiment puts the demonstrator at a small risk of receiving a dose of β radiation. The demonstrator should avoid leaning over the source and, if it cannot be avoided, should reduce the exposure time as far as possible. There are safer versions of doing this experiment that use a collimated beam.

Read our health and safety statement.

#### Procedure

Absorption of beta radiation 
 
a Set up the G–M tube in a clamp and connect it to a scaler if needed. 
 
b Fix the beta source in its holder and clamp it near to the G-M tube. 
 
c Take 30 s counts of the beta particles at equal distances from the G-M tube until the count rate falls to the background count rate. 
 
d A graph of count rate against separation distance could be plotted. 
 
e Move the beta source and G-M tube so that a reasonable count rate is achieved (about 5 cm). Then place paper, cardboard, thin aluminium sheet and lead sheet between the source and the G-M tube.

#### Teaching notes

1 The absorption properties of beta radiation make it useful in industrial and some medical applications. 
 
2 Experiments that deflect beta particles can measure their speed, which is about 98% of the speed of light. Thus relativistic effects cause an increase in the electrons mass. 
 
This experiment was safety checked in April 2006.

Related guidance notes

- Managing radioactive materials in schools

- Radioactive sources: isotopes and availability

- Nature of ionising radiations